## START HERE
Instructions
All new hydrants, valves, fittings, curbstops, top of pipe GPS points, services, pipe casings, meters, as well as utility crossings and any other notable features* shall have records created within this spreadsheet. There is a tab provided for each equipment type. All field shaded green are to be populated by the Resident Project Representative. Please reach out to your ILAWC Project Manager with any questions. If needed, definitions and/or field instructions are listed below. * For "other notable features", complete a record within the Additional Data tab.
Project Information
Project Name: | Pinewood Permanent Supportive Housing
District:
Resident Project Representative (RPR) Name: | Joshua Baird
ILAWC Project Manager Name:
RPR Field Definitions/Special Instructions
Common to all equipment
Cells With Green Fill | Data to be filled out by Contractor or field personnel
Cells With Gray Fill | Data to be filled out by Illinois American Water personnel ONLY
Plan_or_FieldID GPS_Point_ID | The temporary IDs MUST BE unique within the given project and coorespond to the temporary IDs assigned to their respective GPS shots and indicated in any provided project plan sets.
Date In service | Date the project is placed in service.
Manufacturer | Equipment manufacturer. For most equipment, this field has a pick list of preapproved values. If a pick list is present and the manufacturer is not listed, please indicate the correct manufacturer using the Comments field located at the end. If a pick list IS NOT present, simply type in the name of the manufacturer within the Manufacturer field.
Street Address (House number if known) | Street name where equipment is installed. If located in front of/close to a residence, please indicate house number.
Cross Street | Nearest Cross Street
Hydrant Fields
Model | This field has a pick list of preapproved values. If the Model is not listed, select Other and indicate the correct model using the Comments field located at the end.
Hydrant Type | This field has a pick list of preapproved values. If the hydrant type is not listed, please indicate the correct type using the Comments field located at the end.
Open Direction | Direction you turn the hydrant operating nut to open it. This field has a pick list of preapproved values.
Lateral Diameter Inches | Size (in inches) of lateral on which the hydrant is installed. This field has a set range of accepted values. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Lateral Length in feet | Length (in feet) of the lateral on which the hydrant is installed, as measured from the edge of the main to the edge of the hydrant.
Hydrant Valve Field ID | The temporary ID of the hydrant auxiliary valve as it is shown on the Valves tab in this spreadsheet and any project plan set.
Steamer Thread Type | This field has a pick list of preapproved values. If the appropriate steamer thread type is not listed, please indicate it using the Comments field located at the end.
Hydrant Bury Depth in Feet | Depth (in feet) from proposed finished grade (i.e. ground surface) to invert of the hydrant's foot (i.e. connection to lateral).
Hydrant on Dead End Main | This field has a Yes/No pick list.
Joint Type | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Valve Fields
Valve Size | Size (in inches) of the valve. This field has a set range of accepted decimal values, 2.5 not 2-1/2. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Valve Type | This field has a pick list of preapproved values. If the valve type is not listed, please indicate the correct type using the Comments field located at the end.
Main Size | Size of main on which the valve is installed. This field has a pick list of preapproved values.
Application | This field has a pick list of preapproved values. If the application is not listed, please indicate the correct type using the Comments field located at the end.
Main Size | Size of main on which the valve is installed. This field has a set range of accepted decimal values, 2.5 not 2-1/2. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Main Material | Material of main on which the valve is installed. This field has a pick list of preapproved values. If the main material is not listed, please indicate the correct main material using the Comments field located at the end.
Open Direction | Direction you turn the valve to open it. This field has a pick list of preapproved values.
Number of Turns | Number of turns needed to open the valve. Provide a numeric value only.
Bypass Valve | An indication as to whether or not the valve has an integral bypass assembly including a valve. Typically this is only associated with 24" or larger valves and serves to allow pressure equalization across the valve when it is closed so that it can more easily be opened. This field has a Yes/No pick list.
Joint Type | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Depth to Nut in feet | Depth (in feet) from proposed finished grade (i.e. ground surface) to valve nut.
Valve Measure | Two dimensions from known landmarks. Within this field, there should be a North/South dimension and an East/West dimension. Please be sure to note unit of measure used. This information will be used by field crews to locate a given valve when GPS equipment is not available and/or environment conditions hinder locating (i.e., leaves, snow).
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Curbstop Fields - Small diameter <3" service valves
Valve Size | Size (in inches) of the valve. This field has a set range of accepted decimal values, 2.5 not 2-1/2. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Valve Type | This field has a pick list of preapproved values. If the valve type is not listed, please indicate the correct type using the Comments field located at the end.
Application | This field has a pick list of preapproved values. Most Curbstops will have an application of Domestic Service. If the application is not listed, please indicate the correct type using the Comments field located at the end.
Open Direction | Direction you turn the valve to open it. This field has a pick list of preapproved values.
Number of Turns | Number of turns needed to open the valve. Provide a numeric value only.
Valve Measure | Two dimensions from known landmarks. Within this field, there should be a North/South dimension and an East/West dimension. Please be sure to note unit of measure used. This information will be used by field crews to locate a given valve when GPS equipment is not available and/or environment conditions hinder locating (i.e., leaves, snow).
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Fittings Fields
Type | This field has a pick list of preapproved values. If the fitting type is not listed, please indicate the correct type using the Comments field located at the end.
Material | This field has a pick list of preapproved values. If the material is not listed, please indicate the correct type using the Comments field located at the end.
ODRange | Outside Diameter (in inches) of the fitting. This field has a set range of accepted decimal values. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Bend Angle | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Vertical Bend | This field is used to call out vertical bends. It has a Yes/No pick list.
Joint Type | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Meter Pits Fields
Number of Meters | Numeric value describing the number of meters associated with the meter pit.
Location Description | Two dimensions from known landmarks. Within this field, there should be a North/South dimension and an East/West dimension. Please be sure to note unit of measure used. This information will be used by field crews to locate a given meter pit when GPS equipment is not available and/or environment conditions hinder locating (i.e., leaves, snow).
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Water Main GPS Fields - To record data on points GPS'd along the main
Point Type | This field refers to GPS point collection and has a pick list of preapproved values. If the appropriate pont type is not listed, please indicate it using the Comments field located at the end.
Pipe Diameter | Size of main GPS'd. This field has a set range of accepted decimal values. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Pipe Material | Material of main GPS'd. This field has a pick list of preapproved values. If the main material is not listed, please indicate the correct main material using the Comments field located at the end.
Main Line Type | This field refers to the main application. This field has a pick list of preapproved values. If the main type is not listed, please indicate the correct main material using the Comments field located at the end.
Exterior Protection | This field has a pick list of preapproved values. If the appropriate exterior protection type is not listed, please indicate it using the Comments field located at the end.
Asset Location | This field refers to the location type of the main. This field has a pick list of preapproved values. If the location type is not listed, please indicate the correct main material using the Comments field located at the end.
Joint Type | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Restrained | This field works in conjunction with the Joint Type field to indicate whether or not the joint is restrained (i.e. will not pull a part unless mechanically altered). It has a Yes/No pick list.
Line Locator | This field has a Yes/No pick list.
Main Depth in feet | Depth (in feet) from proposed finished grade (i.e. ground surface) to the top of the pipe.
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Services Fields
Point Type | This field refers to GPS point collection and has a pick list of preapproved values. If the appropriate pont type is not listed, please indicate it using the Comments field located at the end.
Pipe Diameter | Size of lateral. This field has a set range of accepted decimal values. If the appropriate size is not accepted, please indicate it using the Comments field located at the end.
Pipe Material | Material of lateral. This field has a pick list of preapproved values. If the appropriate material is not listed, please indicate the correct main material using the Comments field located at the end.
Lateral Service Type | This field has a pick list of preapproved values. If the appropriate service type is not listed, please indicate the correct main material using the Comments field located at the end.
Line Locator | This field has a Yes/No pick list.
Address | Please enter the address number and street the lateral serves.
Joint Type | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Casing Fields
Encasement Diameter | Provide the diameter of the casing pipe in inches.
Encasement Material | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Encasement Thickness (Pipe Wall) | Provide the thickness of the casing pipe wall in inches.
Remaining fields shaded gray | Fields will be pre-populated by ILAW personnel
Utility Crossing Point Fields
Utility Type Crossed | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Diameter in inches | Provide the diameter of the other utility pipe or conduit in inches if applicable.
Material | Provide the material of the other utility pipe or conduit.
Separation in feet | Provide a numeric value of the distance between the Illinois American pipe and the other utility in feet.
Owner Name | Provide the name of the other utility
Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet) of the top of the Illinois American Water pipe at the point of crossing.
Additional Data Fields
Feature Description | Description of feature captured (i.e., Vault, Sample Station)

## HYDRANTS
Hydrants
Example Values
H1 | 1001 | 2021-07-12 | 109 Ashlyn Dr | Sunset Ct | Fisher | SW Corner of Ashlyn Dr & Sunsert Ct | MUELLER | Super Centurian | 2020 | Fire | Left | 6 | 3.75 | V1 | NTS | 4 | No | Mechanical |  | HCP-3207 | VCP-10091 | American Water |  | Public | Fire Only | Champaign |  | R25-14D1.15-P-0003 | 354530 | 380225 | 20363729
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Location | Manufacturer | Model | Year_Manufactured | Hydrant_Type | Open_Direction | Lateral_Diameter_inches | Lateral_Length_in_ft | Hydrant_Valve_Field_ID | Steamer_Thread_Type | Hydrant_Bury_Depth_in_feet | Hydrant_Is_at_End_of_Main | Joint_Type | Comments | ILAW Hydrant Number | ILAW_Aux_Valve_ID | Owner | 3rd_Party_Name | Billing_Type | Water_Type | Fire_District | PremiseID | Installation_WBS | Installation_WO | MapCallID | SAPID

## VALVES
Valves
Example Values
V1 | 1010 | 2021-07-12 | 109 Ashlyn Dr | Sunset Ct | Fisher | CLOW | 8 | Gate | MAIN | 8 | Ductile Iron | Left | 27 | No | Mechanical Joint | 3.75 | 2.5' N. of Curb & 40' E. of CL Driveway |  | VCP-1979 | American Water |  | Public | DIST (M) | Potable | OPEN | OPEN | R25-14D1.15-P-0003 | 354530 | 375924 | 10373795
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Manufacturer | Valve_Size | Valve_Type | Application | Main_Size | Main_Material | Open_Direction | Number_of_Turns | ByPass_Valve | Joint_Type | Depth_to_Nut_ft | Valve_Measure | Comments | ILAW Valve Number | Owner | 3rd_Party_Name | Billing_Information | Category | Water_Type | Normal Position | Current Position | Installation_WBS | Installation_WO | MapCallID | SAPID

## CURBSTOPS
Curbstops
Example Values
V12 | 1010 | 2021-07-12 | 109 Ashlyn Dr | Sunset Ct | Fisher | 1.5 | Ball | DOMESTIC SERVICE | Left | 0.5 | 2.5' N. of Curb & 40' E. of CL Driveway |  | American Water |  | SERV (M) | Potable | OPEN | OPEN | R25-14D1.15-P-0003 | 354530
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Valve_Size | Valve_Type | Application | Open_Direction | Number_of_Turns | Valve_Measure | Comments | Owner | 3rd_Party_Name | Category | Water_Type | Normal Position | Current Position | Installation_WBS | Installation_WO

## FITTINGS
Fittings
Example Values
F1 | 1003 | 2020-06-05 | Bend | Ductile Iron |  |  | 22.5 | No |  |  | American Water |  | Potable Water | R25-14D1.15-P-0003 | 354530
Plan_or_FieldID | GPS_Point_ID | Date_in_Service | Fitting_Type | Material | Manufacturer | ODRange | Bend_Angle | Vertical_Bend | Joint_Type | Comments | Owner | 3rd_Party_Name | Water_Type | Installation_WBS | Installation_WO

## METERPITS
MeterPits
Example Values
MP1 | 1010 | 2021-07-12 | 109 Ashlyn Dr | Sunset Ct | Fisher | 1 | 2.5' N. of Curb & 40' E. of CL Driveway |  | American Water |  | Potable Water | R25-14D1.15-P-0003 | 354530
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Number_of_Meters | Location_Description | Comments | Owner | 3rd_Party_Name | Water_Type | Installation_WBS | Installation_WO

## WATERMAINGPS
Water Main
Example Values
WM1 | 1012 | 2020-07-12 | Pothole | 12 | Polyvinyl Chloride | Distribution |  | Public ROW | Glued | No | Yes | 4.25 |  | American Water |  | Potable Water | R25-14D1.15-P-0003 | 354530
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Point_Type | Pipe_Diameter | Pipe_Material | Main_Line_Type | Exterior_Protection | Asset_Location | Joint_Type | Restrained | Line_Locator | Main_Depth_ft | Comments | Owner | 3rd_Party_Name | Water_Type | Installation_WBS | Installation_WO

## SERVICES
Services
Example Values
Serv1 | 1012 | 2020-07-12 | Pothole | 1 | PVC | [7 empty] | American Water |  | Potable | R25-14D1.15-P-0003 | 354530 | 375924 | 10373795
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Point_Type | Pipe_Diameter | Pipe_Material | Lateral_Service_Type | Line_Locator | Address | Joint_Type | Comments | Premise ID | Service ID | Owner | 3rd_Party_Name | Water_Type | Installation_WBS | Installation_WO | MapCallID | SAPID

## CASING
Casing Pipe
Example Values
| 1020 | 2020-07-12 | 12 | Ductile Iron |  |  | American Water |  | R25-14D1.15-P-0003 | 354530
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Encasement_Diameter | Encasement_Material | Encasement_Thickness | Comments | Owner | 3rd_Party_Name | Installation_WBS | Installation_WO

## UTILITY CROSSING POINTS
Utility Crossing Point
Example Values
| 1101 | Fiber Optic | 2 | Aluminum | 109 Ashlyn Dr | Sunset Ct | Fisher | 4.25 | AT&T | 567.88
Plan_or_FieldID | GPS_Point_ID | Utility_Type_Crossed | Diameter_inches | Material | Street_Address | Cross_Street | City | Separation_in_Feet | Owner_Name | Elevation | Comments

## ADDITIONALDATA
Additional Data
Example Values
| 1212 | 2020-07-12
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Feature_Description | Comments

## Lists (hidden)
Hydrant Manufacturer |  | Hydrant Model |  | Hydrant Type |  | Open Direction | Steamer_Thread_Type |  |  | Yes/No |  | Valve Manufacturer
ADVANCED VALVE TECHNOLOGIES |  | CENTURIAN |  | Fire |  | Left | BBT |  |  | Yes |  | ALLIS CHALMERS
AMERICAN |  | COLUMBIAN |  | Pit |  | Right | BLISS |  |  | No |  | AMERICAN AVK
AMERICAN CAST IRON PIPE |  | FLUSH TYPE IN PIT |  | Flushing |  |  | MHT |  |  | Unknown |  | AMERICAN CAST IRON
AMERICAN DARLING |  | IMPROVED |  | Other |  |  | NST |  |  |  |  | AMERICAN FLOW CONTROL
AMERICAN FLOW CONTROL |  | POST TYPE SMALL BARREL |  |  |  |  | NST 5.097 x 4 |  |  |  |  | AP SMITH
AMERICAN FOUNDRY |  | SUPER CENTURIAN |  |  |  |  | NYC |  |  | Owner |  | CLA-VAL
AP SMITH |  | OTHER |  | Updated 3/22/2021 |  |  | PRT |  |  | American Water |  | CLOW
AVK | [6 empty] | STORZ 4IN |  |  | Customer |  | CRANE
CLOW | [6 empty] | STORZ 5IN |  |  | 3rd Party |  | DARLING
COREY | [9 empty] | Unknown |  | DEZURIK
CRANE |  | Joint_Type | Billing_Type |  | IL_wWater_Type | [6 empty] | DRESSER
DEZURICK |  | Ball & Socket | Municipal |  | Raw Water |  | Valve_Type |  |  |  |  | EDDY
DRESSER |  | Compression | Public |  | Potable Water |  | AIR RELEASE |  |  |  |  | FORD
EAST JORDAN IRON WORKS |  | Flare | Company |  | Fire Only |  | ALTITUDE |  |  |  |  | GOLDEN ANDERSON
EDDY |  | Flanged | Private |  | Gray Water |  | ANGLE |  |  |  |  | HYDRA-STOP
FORD |  | Fused | Contract |  | Dry |  | BALL |  |  |  |  | IOWA
GREENBERG |  | Glued |  |  | NonPotable |  | BUTTERFLY |  |  |  |  | KENNEDY
IOWA |  | Lead |  |  | Sample |  | CHECK VALVE |  |  |  |  | KUPFERLE
JONES |  | MJ |  |  | Residuals |  | DOUBLE CHECK |  |  |  |  | LUDLOW
KENNEDY |  | Other |  |  |  |  | GATE |  |  |  |  | M & H
KUPFERLE |  | Push on | Position |  |  |  | GLOBE |  |  |  |  | MCDONALD
LONG BEACH |  | Restrained | OPEN |  |  |  | PRESSURE REGULATING |  |  |  |  | MCWANE
LUDLOW |  | Riveted | CLOSED |  |  |  | PRESSURE RELIEF |  |  |  |  | MICHIGAN
M & H |  | Soldered |  |  |  |  | STUB |  |  |  |  | MUELLER
MATHEWS |  | Threaded |  |  |  |  | TAPPING |  |  |  |  | NELSON
MCDONALD |  | Welded |  |  |  |  | TELESCOPIC |  |  |  |  | PRATT
MCWANE | [11 empty] | PRATT-CADY
METRO 250 | [11 empty] | RENSSELAER
MICHIGAN |  | Application |  |  | wWater_Material | [6 empty] | RN WOOD
MUELLER |  | AIR RELEASE |  |  | Asbestos Cement (this material is also referred to as Transite) | [6 empty] | TEAM
NELSON |  | ALTITUDE |  |  | Brass | [6 empty] | TRUFLO
PACIFIC STATES |  | BACK FLOW PREVENTION |  |  | Concrete/Cement Pipe of all types | [6 empty] | US PIPE
PENN-TROY |  | BLOW OFF |  |  | Cast Iron; including Wrought Iron and Gray Iron | [6 empty] | VAL-MATIC
PRATT |  | BLOW OFF WITH FLUSHING |  |  | Copper | [6 empty] | WATEROUS
RD WOOD |  | BOOSTER DISCHARGE |  |  | Ductile Iron | [6 empty] | WESTCOTT
RENSSELAER |  | BY-PASS |  |  | Galvanized |  |  |  | Category |  |  | WEXFORD
RICH |  | CONTROL VALVE |  |  | High Density Polyethylene |  |  |  | DIST (A)
TRAVERSE CITY IRON WORKS |  | CROSSOVER |  |  | Lead |  |  |  | DIST (M)
US PIPE |  | DOMESTIC SERVICE |  |  | Other |  |  |  | HYD AUX (M)
VAL-MATIC |  | FIRE SERVICE |  |  | Polybutylene |  |  |  | SERV (A) |  |  | Bend_Angle
WATEROUS |  | GRADIENT SEPARATION |  |  | Polyethylene |  |  |  | SERV (M) |  |  | 11.25
WESTCOTT |  | HYDRANT |  |  | Plastic of unknown material type |  |  |  | TRANS (A) |  |  | 22.5
WHARF |  | INSERTION |  |  | Polyester Reinforced Polyethylene |  |  |  | TRANS (M) |  |  | 45
|  | INTERCONNECTION |  |  | Polyvinyl Chloride |  |  |  | BLOWOFF (A) |  |  | 90
|  | IRRIGATION |  |  | Steel |  |  |  | BLOWOFF(M)
|  | ISOLATION |  |  | Unknown
LATERAL
MAIN
PLANT DISCHARGE
RAW WATER
SAMPLE POINT
STUB
TRANSMISSION
VACUUM BREAKER
Fitting_Type | Point_Type |  | Main_Line_Type |  |  | Exterior_Protection |  | Asset_Location |  |  | Lateral_Service_Type |  | Point_Type
2 Way Wye | Pothole |  | Distribution |  |  | Polywrapped |  | Public ROW |  |  | Domestic |  | Pothole
3 Way Wye | Clamp |  | Transmission |  |  | Wrapped |  | Easement |  |  | Fire |  | Clamp
Adapter | Bell |  | Plant |  |  | CathodicProtection |  | Company Property |  |  | Combined |  | Bell
Bend | Anno |  | Auxiliary |  |  |  |  | Private |  |  | Hydrant |  | Anno
Cap | [7 empty] | Private ROW |  |  | Irrigation
Coupling | [10 empty] | Auxiliary
Cross
Expansion Joint
Line Stop Sleeve
Offset | Utility_Type_Crossed
Plug | Sanitary Sewer
Reducer | Storm Sewer
Riser | Water
Sleeve | Telephone
TapCorp | Fiber Optic
Tapping Sleeve | Other Telecommunication
Tee | Electric
Gas
Steam
Other
Unknown